..APPENDIX..

F

Volume 2 (Technical Handbook) Georgia Stormwater Management Manual F-1

LANDSCAPING AND

AESTHETICS GUIDANCE

Introduction

Landscaping is a critical element in the design of stormwater facilities for water quantity and

quality management, serving both functional and aesthetic purposes. Plants and vegetation

perform a number of functions in stormwater controls and conveyance facilities, including:

Slowing and retarding flow by increasing hydraulic roughness

Preventing the erosion of bare soil

Enhancing infiltration of runoff into the soil

Providing pollutant removal through vegetative uptake

Preventing access to deep open water areas

Contributing to wildlife and fish habitat

Improving the overall appearance of stormwater facilities

The purpose of this Appendix is to provide guidance on landscaping and plant selection for

stormwater facilities and structural controls, as well as provide an overview on developing

aesthetically-pleasing stormwater facilities. This appendix is divided into the following sections:

􀂉Subsection F.1 covers general landscaping guidance that should be considered when

landscaping any stormwater facility.

􀂉Subsection F.2 discusses the physical site factors and considerations involved in selecting

plant material for stormwater facility landscaping.

􀂉Subsection F.3 includes key factors to consider in selecting plant material for stormwater

landscaping are reviewed, including hardiness, physiographic regions, inundation tolerance,

and other factors.

􀂉Subsection F.4 outlines more specific guidance on landscaping criteria and plant selection for

individual structural stormwater control designs, including:

Stormwater Ponds and Wetlands

Bioretention Areas

Infiltration Trench and Surface Sand Filter Facilities

Enhanced Swales and Grass Channels

Filter Strips and Stream Buffers

􀂉Subsection F.5 contains a detailed plant list of trees and shrubs that may be used when

preparing a vegetation and landscaping planting plan for a stormwater facility.

􀂉Subsection F.6 provides examples of aesthetics and good landscaping in structural control

design.

F-2 Georgia Stormwater Design Manual Volume 2 (Technical Handbook)

F.1 General Landscaping Guidance

Below are general guidelines that should be followed in the landscaping of any stormwater control

or conveyance facility.

DO NOT:

􀂉Plant trees, scrubs or any type of woody vegetation on an embankment

􀂉Plant trees and shrubs within 15 feet of the toe of slope of a dam.

􀂉Plant trees or shrubs known to have long tap roots within the vicinity of the earthen dam or

embankment, or subsurface drainage facilities.

􀂉Plant trees and shrubs within 25 feet of a principal spillway structure (e.g., riser)

􀂉Plant trees and shrubs within 25 feet of perforated pipes.

􀂉Block maintenance access to structures with trees or shrubs.

DO:

􀂉Take into account site characteristics and plant selection guidelines (see subsections F.2 and

F.3, respectively) when selecting plants for stormwater facilities.

􀂉Consider how plant characteristics will affect the landscape and the performance of a

structural stormwater control or conveyance.

􀂉Carefully consider the long-term vegetation management strategy for the structural control,

keeping in mind the maintenance legacy for the future owners.

􀂉Preserve existing natural vegetation when possible.

􀂉Avoid the overuse of any plant materials.

􀂉Have soils tested to determine if there is a need for amendments.

􀂉Select plants that can thrive in on-site soils with no additional amendments or a minimum of

amendments.

􀂉Consider water availability, particularly for wetland and water-intensive plantings.

􀂉Decrease the areas where turf is used. Use low maintenance ground cover to absorb run-off.

􀂉Plant stream and edge of water buffers with trees, shrubs, ornamental grasses, and

herbaceous materials where possible, to stabilize banks and provide shade.

􀂉Provide slope stabilization methods for slopes steeper than 2:1, such as planted erosion

control mats. Also, use seed mixes with quick germination rates in this area. Augment

temporary seeding measures with container crowns or root mats of more permanent plant

material.

􀂉Utilize erosion control mats and fabrics to protect in channels that are subject to frequent

wash outs.

􀂉Stabilize all water overflows with plant material that can withstand strong current flows. Root

material should be fibrous and substantial but lacking a tap root.

􀂉Sod area channels that are not stabilized using erosion control mats.

􀂉Divert flows temporarily from seeded areas until stabilized.

􀂉Check water tolerances of existing plant materials prior to inundation of area.

􀂉Stabilize aquatic and safety benches with emergent wetland plants and wet seed mixes.

􀂉Provide a 15-foot clearance from a non-clogging, low flow orifice.

Volume 2 (Technical Handbook) Georgia Stormwater Management Manual F-3

􀂉Limit herbaceous embankment plantings to 10 inches in height, to allow visibility for the

inspector who is looking for burrowing rodents that may compromise the integrity of the

embankment.

􀂉Shade inflow and outflow channels, as well as the southern exposures of pond, to reduce

thermal warming

􀂉Avoid plantings that will require routine or intensive chemical applications (i.e. turf area).

􀂉Maintain and frame desirable views. Be careful not to block views at entrances, exits, or

difficult road curves. Screen or buffer unattractive views into the site.

􀂉Use plants to prohibit pedestrian access to pools or slopes that may be unsafe.

􀂉Keep maintenance area open to allow future access for pond maintenance.

􀂉Provide a planting surface that can withstand the compaction of vehicles using maintenance

access roads.

􀂉Make sure the facility maintenance agreement includes a maintenance requirement of

designated plant material.

􀂉Provide signage for:

􀂃Stormwater management facilities to help educate the public

􀂃Wildflower areas to designate limits of mowing

􀂃Preserving existing natural vegetation

F-4 Georgia Stormwater Design Manual Volume 2 (Technical Handbook)

F.2 Site Considerations

A development site’s characteristics often will help to determine which plant materials and

planting methods the site designer should select and will help improve plant establishment.

Primary site considerations include:

(1) Soil Characteristics

(2) Drainage

(3) Slope

(4) Orientation

Soil Characteristics

Plant establishment and growth can be limited by a number of different soil characteristics

including:

Soil texture

PH -- whether acid, neutral, or alkali

Nutrient levels -- nitrogen, phosphorus, potassium

Minerals -- such as chelated iron, lime

Salinity

Toxicity

Soils are made up of four basic ingredients: mineral elements, pore space, organic matter and

other items consisting mainly of living organisms including fungi, bacteria, and nematodes. One

classification of soils is based upon the mineral part of soil and consists of four sizes of particles.

Clay particles are the smallest, followed by silt, sand, and gravel. The USDA has devised

another system of classifying soil particles. In this system soil is divided into seven categories:

clay, silt, and five sizes of sand.

Soil texture is determined by the percentage of sand, silt, and clay in the soil. The structure of a

soil is influenced by soil texture and also by the aggregation of small soil particles into larger

particles. The amount of aggregation in a soil is strongly influenced by the amount of organic

matter present.

Soil samples should be analyzed by experienced and qualified individuals who can explain the

results and provide information on any soil amendments that are required. Soil fertility can often

be corrected by applying fertilizer or by increasing the level of organic matter in the soil. Soil pH

can be corrected with applications of lime. Where poor soils can’t be amended, seed mixes and

plant material must be selected to establish ground cover as quickly as possible.

Areas that have recently been involved in construction can become compacted so that plant roots

cannot penetrate the soil. Seeds lying on the surface of compacted soils can be washed away or

be eaten by birds. Soils should be loosened to a minimum depth of two inches, preferably to a

four-inch depth. Hard soils may require discing to a deeper depth. Loosening soils will improve

seed contact with the soil, provide greater germination rates, and allow the roots to penetrate into

the soil. If the area is to be sodded, discing will allow the roots to penetrate into the soil.

Whenever possible, topsoil should be spread to a depth of four inches (two inch minimum) over

the entire area to be planted. This provides organic matter and important nutrients for the plant

material. This also allows the stabilizing materials to become established faster, while the roots

are able to penetrate deeper and stabilize the soil, making it less likely that the plants will wash

out during a heavy storm. If topsoil has been stockpiled in deep mounds for a long period of time,

it is desirable to test the soil for pH as well as microbial activity. If the microbial activity has been

destroyed, it may be necessary to inoculate the soil after application.

Volume 2 (Technical Handbook) Georgia Stormwater Management Manual F-5

Drainage

Soil moisture and drainage have a direct bearing on the plant species and communities that can

be supported on a site. Factors such as soil texture, topography, groundwater levels and climatic

patterns all influence soil drainage and the amount of water in the soil. Identifying the topography

and drainage of the site will help determine potential moisture gradients. The following categories

can be used to describe the drainage properties of soils on a site:

􀂉Flooded - Areas where standing water is present most of the growing season.

􀂉Wet - Areas where standing water is present most of the growing season, except during

times of drought. Wet areas are found at the edges of ponds, rivers, streams, ditches,

and low spots. Wet conditions exist on poorly drained soils, often with a high clay content.

􀂉Moist - Areas where the soil is damp. Occasionally, the soil is saturated and drains

slowly. These areas usually are at slightly higher elevations than wet sites. Moist

conditions may exist in sheltered areas protected from sun and wind.

􀂉Well-drained - Areas where rain water drains readily, and puddles do not last long.

Moisture is available to plants most of the growing season. Soils usually are medium

textures with enough sand and silt particles to allow water to drain through the soil.

􀂉Dry - Areas where water drains rapidly through the soil. Soils are usually coarse, sandy,

rocky or shallow. Slopes are often steep and exposed to sun and wind. Water runs off

quickly and does not remain in the soil.

Slope

The degree of slope can also limit its suitability for certain types of plants. Plant establishment

and growth requires stable substrates for anchoring root systems and preserving propagules

such as seeds and plant fragments, and slope is a primary factor in determining substrate

stability. Establishing plants directly on or below eroding slopes is not possible for most species.

In such instances, plant species capable of rapid spread and anchoring soils should be selected

or bioengineering techniques should be used to aid the establishment of a plant cover.

In addition, soils on steep slopes generally drain more rapidly than those on gradual slopes. This

means that the soils may remain saturated longer on gradual slopes. If soils on gradual slopes

are classified as poorly drained, care should be taken that plant species are selected that are

tolerant of saturation.

Site topography also affects maintenance of plant species diversity. Small irregularities in the

ground surface (e.g., depressions, etc.) are common in natural systems. More species are found

in areas with many micro-topographic features than in areas without such features. Raised sites

are particularly important in wetlands because they allow plants that would otherwise die while

flooded to escape inundation.

In wetland plant establishment, ground surface slope interacts with the site hydrology to

determine water depths for specific areas within the site. Depth and duration of inundation are

principal factors in the zonation of wetland plant species. A given change in water levels will

expose a relatively small area on a steep slope in comparison with a much larger area exposed

on a gradual or flat slope. Narrow planting zones will be delineated on steep slopes for species

tolerant of specific hydrologic conditions, whereas gradual slopes enable the use of wider planting

zones.

Orientation

Slope exposure should be considered for its effect on plants. A southern-facing slope receives

more sun and is warmer and drier, while the opposite is true of a northern slope. Eastern- and

western-facing slopes are intermediate, receiving morning and afternoon sun, respectively.

Western-facing slopes tending to receive more wind.

F-6 Georgia Stormwater Design Manual Volume 2 (Technical Handbook)

F.3 Plant Selection for Stormwater Facilities

F.3.1 Hardiness Zones

Hardiness zones are based on historical annual minimum temperatures recorded in an area.

A site’s location in relation to plant hardiness zones is important to consider first because plants

differ in their ability to withstand very cold winters. This does not imply that plants are not

affected by summer temperatures. Given that Georgia summers can be very hot, heat tolerance

is also a characteristic that should be considered in plant selection.

It is best to recommend plants known to thrive in specific hardiness zones. The plant list included

at the end of this appendix identifies the hardiness zones for each species listed as a general

planting guide. It should be noted, however, that certain site factors can create microclimates or

environmental conditions which permit the growth of plants not listed as hardy for that zone. By

investigating numerous references and based on personal experience, a designer should be able

to confidently recommend plants that will survive in microclimates.

Figure F-1 USDA Plant Hardiness Zones in Georgia

Volume 2 (Technical Handbook) Georgia Stormwater Management Manual F-7

F.3.2 Physiographic Provinces

There are five physiographic provinces in Georgia that describe distinct geographic regions in the

state with similar physical and environmental conditions (Figure F-2). These physiographic

provinces include, from northwest to southeast, Appalachian Plateau, Ridge and Valley, Blue

Ridge, Piedmont and Coastal Plain (subdivided into upper and lower regions). Each

physiographic region is defined by unique geological strata, soil type, drainage patterns, moisture

content, temperature and degree of slope which often dictate the predominant vegetation.

Because the predominant vegetation has evolved to live in these specific conditions, a successful

stormwater management facility planting design can be achieved through mimicking these natural

associations. The five physiographic regions are described below with associated vegetation

listed as general planting guidance.

Figure F-2 Physiographic Provinces of Georgia

(Adapted from: Georgia Wildlife Web)

Coastal Plain – The Georgia Coastal Plain province is a low, flat region of

well-drained, gently rolling hills and poorly drained flatwoods. The Coastal

Plain extends east and south of the Fall Line Hills, the old Mesozoic shoreline

still marked by a line of sand hills. Its soils, sands, and sandy clays are of

marine origin and are usually acidic. They possess a low native fertility due to

excessive leaching. Its elevation ranges from sea level to 225 m (750 ft). The

Coastal Plain is sometimes divided into upper and lower sections, the upper

section being near the Fall Line and the lower section being the mainland

along the Atlantic coast.

On well-drained soils of the Coastal Plain, the dominant plant species are Long-leaf Pine, Loblolly

Pine, and several species of oak. On poorly drained soils, the dominant species are Long-leaf

Pine and Slash Pine with a dense ground cover of Saw Palmetto, Gallberry, and Wire-grass.

F-8 Georgia Stormwater Design Manual Volume 2 (Technical Handbook)

These plants are adapted to a humid subtropical climate of mild winters, hot summers, high

rainfall, and frequent ground fires. Where the soil is poorly drained, Pond Pines are dominate.

The Southern Mixed Hardwood community includes oaks, Sweet Gum, magnolias, Red Bay, and

Pignut Hickory. Such hardwood communities are found bordering freshwater streams and

floodplain swamps and in low, fertile areas near the coast. Wooded swamps composed of

Cypress, Tupelo, and Red Maple trees are found adjacent to swamps, ponds, and lakes as well

as along sluggish, meandering streams. The major plant communities on the Barrier Islands are

maritime oak forests and pine forests. Major cities and urban areas in the Coastal Plain include

Albany, Savannah and Valdosta. Columbus, Macon and Augusta all straddle the Fall Line

between the Piedmont and Coastal Plain.

Piedmont – The Piedmont province contains a series of rolling hills and

occasional isolated mountains. Rivers and ravines are found throughout this

province. This is an area of oak-hickory-pine forests and mixed deciduous

forests. Oak-hickory-pine forests are the most widespread type of forest in the

southeastern United States. The dominant trees include oaks, hickories,

Short-leaf Pine, and Loblolly Pine. Pines occur in the less favorable or

disturbed areas of the Piedmont. In river valleys, mixed deciduous forests of

hardwood trees such as Sweet Gum, Beech, Red Maple, elms, and birches

are found.

Common understory species in the Piedmont include the sweet fern, flowering dogwood,

sassafras, blueberry, pink azalea, hydrangea, spicebush and arrowwood. The Atlanta metro area

and Athens are both located in the Piedmont province.

Blue Ridge – The Blue Ridge province occupies the northeastern portion of

Georgia. It consists of an irregular sequence of mountains, ridges, and

basins. Elevations reach 480 - 1,410 m (1,600 - 4,700 ft). The Blue Ridge

Mountains and Cohutta Mountains form most of this province, with the

McCaysville Basin separating them. Portions of the Piedmont Province

extend into this province as well. Distinctly different elevations result in

considerable variety in vegetation.

Ridge and Valley – The Ridge and Valley province occupies most of

northwestern portion of Georgia. It includes the Chickamauga Valley,

Armuchee Ridges, and the Great Valley. These form a series of parallel

valleys separated by ridges in the northwest corner of the state. Lowland

areas are about 210 - 240 m (700 - 800 ft) above sea level, but the higher

ridges may be above 480 m (1,600 ft). Plant species vary from area to area,

based on local soil type, elevation, moisture, and disturbances. Major cities in

the Ridge and Valley province include Rome, Dalton and metro Chattanooga.

Appalachian Plateau – This mountainous province is found in extreme

northwestern Georgia. Its most prominent features are Lookout and Sand

Mountains. A variety of vegetation types occur in this area, depending on

elevation, but Appalachian Oak Forests cover most of the Province. For

example, forests on north-facing ravines between 800 and 1,200 m (2,640 -

3,960 ft) include Basswood, Sugar Maple, Tulip Poplar, Beech, Birch, and

Hemlock trees. More northern species of evergreens and shrubs appear in

the forests above 1,200 m (3,960 ft). The understory may include

rhododendrons, native azaleas, and Mountain Laurel.

Volume 2 (Technical Handbook) Georgia Stormwater Management Manual F-9

Floodplain Plant Communities – Floodplain areas are a microclimatic area that results in a

characteristic plant community that is similar in all five physiographic provinces. Floodplain plant

communities are an important reference community since many stormwater practices are located

with this area. Floodplains occur along streams in both steep and level areas. The most

noteworthy plants found along floodplains are River Birch, Willows, Poplars, Silver Maple, Sweet

Gum (Coastal Plain and Piedmont); Sycamore, Box Elder, Green Ash, American Elm, Swamp

White Oak, Bur Oak (Piedmont); and Honeylocust and Hackberry. Shrubs commonly found in

floodplains include Shrub Willows, Ninebark, Silkey Cornel, Buttonbush, Spicebush, Black Alder,

Winterberry, Black Elderberry, and Alders.

F.3.3 Other Considerations in Plant Selection

Use or Function

In selecting plants, consideration must be given to their desired function in the stormwater

management facility. Is the plant needed as ground cover, soil stabilizer, biofilter or source of

shade? Will the plant be placed for functional or aesthetic purposes? Does the adjacent use

provide conflicts or potential problems and require a barrier, screen, or buffer? Nearly every plant

and plant location should be provided to serve some function in addition to any aesthetic appeal.

Plant Characteristics

Certain plant characteristics are so obvious, they may actually be overlooked in the plant

selection. These are:

􀂉Size

􀂉Shape

For example, tree limbs, after several years, can grow into power lines. A wide growing shrub

may block maintenance access to a stormwater facility. Consider how these characteristics can

work for you or against you, today and in the future.

Other plant characteristics must be considered to determine how the plant grows and functions

seasonally, and whether the plant will meet the needs of the facility today and in the future.

Some of these characteristics are:

􀂉Growth Rate

􀂉Regeneration Capacity

􀂉Maintenance Requirements (e.g. mowing, harvesting, leaf collection, etc.)

􀂉Aesthetics

In urban or suburban settings, a plant's aesthetic interest may be of greater importance.

Residents living next to a stormwater system may desire that the facility be appealing or

interesting to look at throughout the year. Aesthetics is an important factor to consider in the

design of these systems. Failure to consider the aesthetic appeal of a facility to the surrounding

residents may result in reduced value to nearby lots. Careful attention to the design and planting

of a facility can result in maintained or increased values of a property.

Availability and Cost

Often overlooked in plant selection is the availability from wholesalers and the cost of the plant

material. There are many plants listed in landscape books that are not readily available from the

nurseries. Without knowledge of what is available, time spent researching and finding the one

plant that meets all the needs will be wasted, if it is not available from the growers. It may require

shipping, therefore, making it more costly than the budget may allow. Some planting

requirements, however, may require a special effort to find the specific plant that fulfills the needs

of the site and the function of the plant in the landscape.

F-10 Georgia Stormwater Design Manual Volume 2 (Technical Handbook)

Native versus Nonnative Species

This Manual encourages the use of native plants in stormwater management facilities, since they

are best suited to thrive under the physiographic and hardiness conditions encountered at a site.

Unfortunately, not all native plants provide the desired landscape or appearance, and may not

always be available in quantity from local nurseries. Therefore, naturalized plants that are not

native species, but can thrive and reproduce in the new area may be a useful alternative.

Because all landscaping needs may not be met by native or naturalized plants, some ornamental

and exotic species are provided in this guide that can survive under difficult conditions

encountered in a stormwater management facility. Since many stormwater facilities are adjacent

to residential areas, the objectives of the stormwater planting plan may shift to resemble the more

controlled appearance of nearby yards, or to provide a pleasing view. Great care should be

taken; however, when introducing plant species so as not to create a situation where they may

become invasive and take over adjacent natural plant communities.

Moisture Status

In landscaping stormwater management facilities, hydrology plays a large role in determining

which species will survive in a given location.

For areas that are to be planted within a stormwater management facility it is necessary to

determine what type of hydrologic zones will be created within the facility.

The six zones shown in Table F-1 in the next section describe the different conditions

encountered in stormwater management facilities. Every facility does not necessarily reflect all of

these zones. The hydrologic zones designate the degree of tolerance the plant exhibits to

differing degrees of inundation by water. Each zone has its own set of plant selection criteria

based on the hydrology of the zone, the stormwater functions required of the plant and the

desired landscape effect.

Volume 2 (Technical Handbook) Georgia Stormwater Management Manual F-11

F.4 Specific Landscaping Criteria for Structural

Stormwater Controls

F.4.1 Stormwater Ponds and Wetlands

Stormwater ponds and wetlands are engineered basins and wetland areas designed to control

and treat stormwater runoff. Aquatic vegetation plays an important role in pollutant removal in

both stormwater ponds and wetlands. In addition, vegetation can enhance the appearance of a

pond or wetland, stabilize side slopes, serve as wildlife habitat, and can temporarily conceal

unsightly trash and debris.

Within a stormwater pond or wetland, there are various hydrologic zones as shown in Table F-1

that must be considered in plant selection. These hydrologic zones designate the degree of

tolerance a plant must have to differing degrees of inundation by water. Hydrologic conditions in

an area may fluctuate in unpredictable ways; thus the use of plants capable of tolerating wide

varieties of hydrologic conditions greatly increases the successful establishment of a planting.

Plants suited for specific hydrologic conditions may perish when those conditions change,

exposing the soil, and therefore, increasing the chance for erosion. Each of the hydrologic zones

is described in more detail below along with examples of appropriate plant species.

Table F-1 Hydrologic Zones

Zone #

Zone Description

Hydrologic Conditions

Zone 1

Deep Water Pool

1-6 feet depth (permanent pool)

Zone 2

Shallow Water Bench

Normal pool elevation to 1 foot depth

Zone 3

Shoreline Fringe

Regularly inundated

Zone 4

Riparian Fringe

Periodically inundated

Zone 5

Floodplain Terrace

Infrequently inundated

Zone 6

Upland Slopes

Seldom or never inundated

Zone 1: Deep Water Area (1- 6 Feet)

Ponds and wetlands both have deep pool areas that comprise Zone 1. These pools range from

one to six feet in depth, and are best colonized by submergent plants, if at all.

This pondscaping zone is not routinely planted for several reasons. First, the availability of plant

materials that can survive and grow in this zone is limited, and it is also feared that plants could

clog the stormwater facility outlet structure. In many cases, these plants will gradually become

established through natural recolonization (e.g., transport of plant fragments from other ponds via

the feet and legs of waterfowl). If submerged plant material is commercially available and

clogging concerns are addressed, this area can be planted. The function of the planting is to

reduce resedimentation and improve oxidation while creating a greater aquatic habitat.

􀂉Plant material must be able to withstand constant inundation of water of one foot

or greater in depth.

􀂉Plants may be submerged partially or entirely.

􀂉Plants should be able to enhance pollutant uptake.

􀂉Plants may provide food and cover for waterfowl, desirable insects, and other aquatic life.

F-12 Georgia Stormwater Design Manual Volume 2 (Technical Handbook)

Some suggested emergent or submergent species include, but are not limited to: Water Lily,

Deepwater Duck Potato, Spatterdock, Wild Celery and Redhead Grass.

Zone 2: Shallow Water Bench (Normal Pool To 1 Foot)

Zone 2 includes all areas that are inundated below the normal pool to a depth of one foot, and is

the primary area where emergent plants will grow in stormwater wetlands. Zone 2 also coincides

with the aquatic bench found in stormwater ponds. This zone offers ideal conditions for the

growth of many emergent wetland species. These areas may be located at the edge of the pond

or on low mounds of earth located below the surface of the water within the pond. When planted,

Zone 2 can be an important habitat for many aquatic and nonaquatic animals, creating a diverse

food chain. This food chain includes predators, allowing a natural regulation of mosquito

populations, thereby reducing the need for insecticidal applications.

􀂉Plant material must be able to withstand constant inundation of water to depths

between six inches and one foot deep.

􀂉Plants will be partially submerged.

􀂉Plants should be able to enhance pollutant uptake.

􀂉Plants may provide food and cover for waterfowl, desirable insects and other aquatic life.

Common emergent wetland plant species used for stormwater wetlands and on the aquatic

benches of stormwater ponds include, but are not limited to: Arrowhead/Duck Potato, Soft Rush,

various Sedges, Softstem Bulrush, Cattail, Switchgrass, Southern Blue-Flag Iris, Swamp

Hibiscus, Swamp Lily, Pickerelweed, Pond Cypress and various Asters.

Zone 3: Shoreline Fringe (Regularly Inundated)

Zone 3 encompasses the shoreline of a pond or wetland, and extends vertically about one foot in

elevation from the normal pool. This zone includes the safety bench of a pond, and may also be

periodically inundated if storm events are subject to extended detention. This zone occurs in a

wet pond or shallow marsh and can be the most difficult to establish since plants must be able to

withstand inundation of water during storms, when wind might blow water into the area, or the

occasional drought during the summer. In order to stabilize the soil in this zone, Zone 3 must

have a vigorous cover.

􀂉Plants should stabilize the shoreline to minimize erosion caused by wave and wind action

or water fluctuation.

􀂉Plant material must be able to withstand occasional inundation of water. Plants will be

partially submerged partially at this time.

􀂉Plant material should, whenever possible, shade the shoreline, especially the southern

exposure. This will help to reduce the water temperature.

􀂉Plants should be able to enhance pollutant uptake.

􀂉Plants may provide food and cover for waterfowl, songbirds, and wildlife. Plants could

also be selected and located to control overpopulation of waterfowl.

􀂉Plants should be located to reduce human access, where there are potential hazards, but

should not block the maintenance access.

􀂉Plants should have very low maintenance requirements, since they may be difficult or

impossible to reach.

􀂉Plants should be resistant to disease and other problems which require chemical

applications (since chemical application is not advised in stormwater ponds).

Many of the emergent wetland plants that perform well in Zone 2 also thrive in Zone 3. Some

other species that do well include Broom Grass, Upland Sea-Oats, Dwarf Tickseed, various

Ferns, Hawthorns. If shading is needed along the shoreline, the following tree species are

suggested: Boxelder, Ash, Willow, Red Maples and Willow Oak.

Volume 2 (Technical Handbook) Georgia Stormwater Management Manual F-13

Zone 4: Riparian Fringe (Periodically Inundated)

Zone 4 extends from one to four feet in elevation above the normal pool. Plants in this zone are

subject to periodic inundation after storms, and may experience saturated or partly saturated soil

inundation. Nearly all of the temporary extended detention (ED) storage area is included within

this zone.

􀂉Plants must be able to withstand periodic inundation of water after storms, as well as

occasional drought during the warm summer months.

􀂉Plants should stabilize the ground from erosion caused by run-off.

􀂉Plants should shade the low flow channel to reduce the pool warming whenever possible.

􀂉Plants should be able to enhance pollutant uptake.

􀂉Plant material should have very low maintenance, since they may be difficult or

impossible to access.

􀂉Plants may provide food and cover for waterfowl, songbirds and wildlife. Plants may also

be selected and located to control overpopulation of waterfowl.

􀂉Plants should be located to reduce pedestrian access to the deeper pools.

Some frequently used plant species in Zone 4 include Broom Grass, Yellow Indian Grass,

Ironweed, Joe Pye Weed, Lilies, Flatsedge, Hollies, Forsythia, Lovegrass, Hawthorn and Sugar

Maples.

Zone 5: Floodplain Terrace (Infrequently Inundated)

Zone 5 is periodically inundated by flood waters that quickly recede in a day or less.

Operationally, Zone 5 extends from the maximum two year or Cpv water surface elevation up to

the 25 or 100 year maximum water surface elevation. Key landscaping objectives for Zone 5 are

to stabilize the steep slopes characteristic of this zone, and establish a low maintenance, natural

vegetation.

􀂉Plant material should be able to withstand occasional but brief inundation during storms,

although typical moisture conditions may be moist, slightly wet, or even swing entirely to

drought conditions during the dry weather periods.

􀂉Plants should stabilize the basin slopes from erosion.

􀂉Ground cover should be very low maintenance, since they may be difficult to access on

steep slopes or if the frequency of mowing is limited. A dense tree cover may help

reduce maintenance and discourage resident geese.

􀂉Plants may provide food and cover for waterfowl, songbirds, and wildlife.

􀂉Placement of plant material in Zone 5 is often critical, as it often creates a visual focal

point and provides structure and shade for a greater variety of plants.

Some commonly planted species in Zone 5 include many wildflowers or native grasses, many

Fescues, many Viburnums, Witch Hazel, Blueberry, American Holly, American Elderberry and

Red Oak.

Zone 6: Upland Slopes (Seldom or Never Inundated)

The last zone extends above the maximum 100 year water surface elevation, and often includes

the outer buffer of a pond or wetland. Unlike other zones, this upland area may have sidewalks,

bike paths, retaining walls, and maintenance access roads. Care should be taken to locate plants

so they will not overgrow these routes or create hiding places that might make the area unsafe.

􀂉Plant material is capable of surviving the particular conditions of the site. Thus, it is not

necessary to select plant material that will tolerate any inundation. Rather, plant

selections should be made based on soil condition, light, and function within the

landscape.

F-14 Georgia Stormwater Design Manual Volume 2 (Technical Handbook)

􀂉Ground covers should emphasize infrequent mowing to reduce the cost of maintaining

this landscape.

􀂉Placement of plants in Zone 6 is important since they are often used to create a visual

focal point, frame a desirable view, screen undesirable views, serve as a buffer, or

provide shade to allow a greater variety of plant materials. Particular attention should be

paid to seasonal color and texture of these plantings.

Some frequently used plant species in Zone 6 include most ornamentals (as long as soils drain

well, many wildflowers or native grasses, Linden, False Cypress, Magnolia, most Spruce,

Mountain Ash and most Pine.

Table F-2 provides a list of selected wetland plants for Georgia stormwater ponds and wetlands

for hydrologic zones 1-4

Table F-2 Wetland Plants (Herbaceous Species) for Stormwater Facilities

Scientific Name

Common Name

Hydrologic Zone

Acorus calumus Sweetflag 2

Andropogon glomeratus Bushy Broom Grass 3

Andropogon virginicus Broom Grass 4

Canna flaccida Golden Canna 2

Carex spp. Caric Sedges 2

Chasmanthium latifolium Upland Sea-Oats 3

Coreopsis leavenworthii Tickseed 2

Coreopsis tinctoria Dwarf Tickseed 3

Crinum americanum Swamp Lily 2

Cyperus odoratus Flat Sedge 2

Eleocharis cellulosa Coastal Spikerush 2

Eleocharis interstincta Jonited Spikerush 2

Eupatorium fistolosum Joe Pye Weed 4

Helianthus angustifolius Swamp Sunflower 2

Hibiscus coccinieus Swamp Hibiscus 2

Iris louisiana Louisiana Iris 2

Iris virginica Southern Blue-Flag 2

Juncus effusus Soft Rush 2

Leersia oryzoides Rice Cut Grass 2

Volume 2 (Technical Handbook) Georgia Stormwater Management Manual F-15

Table F-2 continued

Scientific Name

Common Name

Zone

Liatris spicata Spiked Gayfeather 3

Lobelia cardinalis Cardinal Flower 3

Nuphar luteum Spatterdock 1

Nymphaea mexicana Yellow Water Lily 1

Nymphaea odorata Fragrant Water Lily 1

Osmunda cinnamomea Cinnamon Fern 3

Osmunda regalis Royal Fern 3

Panicum virgatum Switchgrass 2

Peltandra virginica Green Arum 2

Polygonum hydropiperoides Smartweed 2

Pontederia cordata Pickerelweed 2

Pontederia lanceolata Pickerelweed 2

Rudbeckia hirta Black-eyed Susan 4

Sagittaria lancifolia Lance-leaf Arrowhead 2

Sagittaria latifolia Duck Potato 2

Saururus cernuus Lizard’s Tail 2

Scirpus americanus Three-square 2

Scirpus californicus Giant Bulrush 2

Scirpus validus Softstem Bulrush 2

Sorgham nutans Yellow Indian Grass 4

Thalia geniculata Alligator Flag 2

Typha spp. Cat-tail 2

Vernonia gigantea Ironweed 4

Woodwardia virginica Virginia Chain Fern 2

Source: Aquascape, Inc.

F-16 Georgia Stormwater Design Manual Volume 2 (Technical Handbook)

12 to 36 inch depth below normal pool elevation

Water Lily, Deep Water Duck Potato, Spatterdock, Wild Celery, Redhead Grass

0 to 12 inch depth below normal pool elevation

Arrowhead/Duck Potato, Soft Rush, various Sedges, Softstem Bulrush, Cattail,

Switchgrass, Southern Blue Flag Iris, Swamp Hibiscus, Swamp Lily, Pickerelweed,

Pond Cypress, various Asters

0 to 12 inch elevation above normal pool elevation

Various species from above, Broom Grass, Upland Sea-Oats, Dwarf Tickseed,

various Ferns, Hawthorns, Boxelder, Ash, Willow, Red Maple, Willow Oak

1 to 4 foot elevation above normal pool elevation

Broom Grass, Yellow Indian Grass, Ironweed, Joe Pye Weed, various Lilies,

Flatsedge, Hollies, Lovegrass, Hawthorn, Sugar Maple

Cpv to Qp25 or Qf water surface elevation

Many wildflowers or native grasses, many Fescues, many Viburnums, Witch Hazel,

Blueberry, American Holly, American Elderberry, Red Oak

Qf water surface elevation and above

Many ornamentals as long as soils drain well, many wildflowers or native grasses,

Linden, False Cypress, Magnolia, most Spruce, Mountain Ash, most Pine

Figure F-3 Legend of Hydrologic Zones Around Stormwater Facilities

Figure F-4 Plan View of Hydrologic Zones around Stormwater Wet ED Pond

Volume 2 (Technical Handbook) Georgia Stormwater Management Manual F-17

Figure F-5 Plan View of Hydrologic Zones around Stormwater ED Shallow Wetland

Figure F-6 Section of Typical Shallow ED Wetland

F-18 Georgia Stormwater Design Manual Volume 2 (Technical Handbook)

F.4.2 Bioretention Areas

Bioretention areas are structural stormwater controls that capture treat runoff using soils and

vegetation in shallow basins or landscaped areas. Landscaping is therefore critical to the

performance and function of these facilities. Below are guidelines for soil characteristics,

mulching, and plant selection for bioretention areas.

Planting Soil Bed Characteristics

The characteristics of the soil for the bioretention facility are perhaps as important as the facility

location and size. The soil must be permeable enough to allow runoff to filter through the media,

while having characteristics suitable to promote and sustain a robust vegetative cover crop. In

addition, much of the nutrient pollutant uptake (nitrogen and phosphorus) is accomplished

through adsorption and microbial activity within the soil profile. Therefore, the soils must balance

soil chemistry and physical properties to support biotic communities above and below ground.

The planting soil should be a sandy loam, loamy sand, loam, or a loam/sand mix (should contain

a minimum 35 to 60% sand, by volume). The clay content for these soils should by less than

25% by volume. Soils should fall within the SM, ML, SC classifications or the Unified Soil

Classification System (USCS). A permeability of at least 1.0 feet per day (0.5"/hr) is required (a

conservative value of 0.5 feet per day should be used for design). The soil should be free of

stones, stumps, roots, or other woody material over 1" in diameter. Brush or seeds from noxious

weeds, such as Johnson Grass, Mugwort, Nutsedge, and Canadian Thistle should not be present

in the soils. Placement of the planting soil should be in lifts of 12 to 18", loosely compacted

(tamped lightly with a dozer or backhoe bucket). The specific characteristics are presented in

Table F-3.

Table F-3 Planting Soil Characteristics

Parameter Value

pH range 5.2 to 7.00

Organic matter 1.5 to 4.0%

Magnesium 35 lbs. per acre, minimum

Phosphorus (P2O5) 75 lbs. per acre, minimum

Potassium (K2O) 85lbs. per acre, minimum

Soluble salts 500 ppm

Clay 10 to 25%

Silt 30 to 55%

Sand 35 to 60%

(Adapted from EQR, 1996; ETAB, 1993)

Mulch Layer

The mulch layer plays an important role in the performance of the bioretention system. The

mulch layer helps maintain soil moisture and avoids surface sealing which reduces permeability.

Mulch helps prevent erosion, and provides a micro-environment suitable for soil biota at the

mulch/soil interface. It also serves as a pretreatment layer, trapping the finer sediments which

remain suspended after the primary pretreatment. The mulch layer should be standard

landscape style, single or double, shredded hardwood mulch or chips. The mulch layer should be

well aged (stockpiled or stored for at least 12 months), uniform in color, and free of other

materials, such as weed seeds, soil, roots, etc. The mulch should be applied to a maximum

depth of three inches. Grass clippings should not be used as a mulch material.

Volume 2 (Technical Handbook) Georgia Stormwater Management Manual F-19

Planting Plan Guidance

Plant material selection should be based on the goal of simulating a terrestrial forested

community of native species. Bioretention simulates an ecosystem consisting of an uplandoriented

community dominated by trees, but having a distinct community, or sub-canopy, of

understory trees, shrubs and herbaceous materials. The intent is to establish a diverse, dense

plant cover to treat stormwater runoff and withstand urban stresses from insect and disease

infestations, drought, temperature, wind, and exposure.

The proper selection and installation of plant materials is key to a successful system. There are

essentially three zones within a bioretention facility (Figure F-7). The lowest elevation supports

plant species adapted to standing and fluctuating water levels. The middle elevation supports a

slightly drier group of plants, but still tolerates fluctuating water levels. The outer edge is the

highest elevation and generally supports plants adapted to dryer conditions. A sample of

appropriate plant materials for bioretention facilities are included in Table F-4. More potential

bioretention species can be found in the wetland plant list in subsection F.5.

Figure F-7 Planting Zones for Bioretention Facilities

The layout of plant material should be flexible, but should follow the general principals described

below. The objective is to have a system that resembles a random and natural plant layout, while

maintaining optimal conditions for plant establishment and growth.

􀂉Native plant species should be specified over exotic or foreign species.

􀂉Appropriate vegetation should be selected based on the zone of hydric tolerance

􀂉Species layout should generally be random and natural.

􀂉The tree-to-shrub ratio should be 2:1 to 3:1. On average, the trees should be spaced 8

feet apart.

􀂉Plants should be placed at regular intervals to replicate a natural forest.

􀂉Woody vegetation should not be specified at inflow locations.

􀂉A canopy should be established with an understory of shrubs and herbaceous materials.

􀂉Woody vegetation should not be specified in the vicinity of inflow locations.

􀂉Trees should be planted primarily along the perimeter of the bioretention area.

􀂉Urban stressors (e.g., wind, sun, exposure, insect and disease infestation, drought)

should be considered when laying out the planting plan.

􀂉Noxious weeds should not be specified.

F-20 Georgia Stormwater Design Manual Volume 2 (Technical Handbook)

􀂉Aesthetics and visual characteristics should be a prime consideration.

􀂉Traffic and safety issues must be considered.

􀂉Existing and proposed utilities must be identified and considered.

Plant materials should conform to the American Standard Nursery Stock, published by the

American Association of Nurserymen, and should be selected from certified, reputable nurseries.

Planting specifications should be prepared by the designer and should include a sequence of

construction, a description of the contractor's responsibilities, a planting schedule and installation

specifications, initial maintenance, and a warranty period and expectations of plant survival.

Table F-5 presents some typical issues for planting specifications. Figure F-8 shows an example

of a sample planting plan for a bioretention area.

Table F-4 Commonly Used Species for Bioretention Areas

Trees

Shrubs

Herbaceous Species

Acer rubrum

Red Maple

Aesculus pariviflora

Bottlebrush Buckeye

Andropogon virginicus

Broomsedge

Betula nigra

River Birch

Aronia arbutifolia

Red Chokeberry

Eupatorium perpurea

Joe Pye Weed

Juniperus virginiana

Eastern Red Cedar

Fothergilla gardenii

Fothergilla

Hemerocalis spp.

Day Lily

Koelreuteria paniculata

Golden Rain Tree

Hamemelis virginiana

Witch Hazel

Iris pseudacorus

Yellow Iris

Nyssa sylvatica

Black Gum

Hypericum densiflorum

Common St. Johns Wort

Lobelia cardinalis

Cardinal Flower

Platanus acerifolia

London Plane-Tree

Ilex glabra

Inkberry

Panicum virgatum

Switchgrass

Platanus occidentalis

Sycamore

Ilex verticillata

Winterberry

Pennisetum alopecuroides

Fountaingrass

Quercus palustris

Pin Oak

Juniperus horizontalis

Creeping Juniper

Rudbeckia laciniata

Greenhead Coneflower

Quercus phellos

Willow Oak

Lindera benzoin

Spicebush

Scirpus cyperinus

Woolgrass

Salix nigra

Black willow

Myrica pennsylvanica

Bayberry

Vernonia gigantea

Ironweed

Volume 2 (Technical Handbook) Georgia Stormwater Management Manual F-21

Table F-5 Planting Plan Specification Issues for Bioretention Areas

Specification Element Elements

Sequence of Construction

Describe site preparation activities, soil amendments, etc.;

address erosion and sediment control procedures; specify

step-by-step procedure for plant installation.

Contractor's Responsibilities

Specify the contractors responsibilities, such as watering, care

of plant material during transport, timeliness of installation,

repairs due to vandalism, etc.

Planting Schedule

and Specifications

Specify the materials to be installed, the type of materials

(e.g., B&B, bare root, containerized); time of year of

installations, sequence of installation of types of plants;

fertilization, stabilization seeding, if required; watering and

general care.

Maintenance

Specify inspection periods; mulching frequency; removal and

replacement of dead and diseased vegetation; treatment of

diseased trees; watering schedule after initial installation

(once per day for 14 days is common); repair and

replacement of staking and wires.

Warranty

Specify warranty period, the required survival rate, and

expected condition of plant species at the end of the warranty.

Figure F-8 Sample Bioretention Area Planting Plan

(Source: VDCR, 1999)

F-22 Georgia Stormwater Design Manual Volume 2 (Technical Handbook)

F.4.3 Surface Sand Filters and Infiltration Trenches

Both surface sand filters and infiltration trenches can be designed with a grass cover to aid in

pollutant removal and prevent clogging. The sand filter or trench is covered with permeable

topsoil and planted with grass in a landscaped area. Properly planted, these facilities can be

designed to blend into natural surroundings.

Grass should be capable of withstanding frequent periods of inundation and drought. Vegetated

filter strips and buffers should fit into and blend with surrounding area. Native grasses are

preferable, if compatible.

Design Constraints:

􀂉Check with your local review authority to see if the planning of a grass cover or turf over a

sand filter or infiltration trench is allowed.

􀂉Do not plant trees or provide shade within 15 feet of infiltration or filtering area or where

leaf litter will collect and clog infiltration area.

􀂉Do not locate plants to block maintenance access to the facility.

􀂉Sod areas with heavy flows that are not stabilized with erosion control mats.

􀂉Divert flows temporarily from seeded areas until stabilized.

􀂉Planting on any area requiring a filter fabric should include material selected with care to

insure that no tap roots will penetrate the filter fabric.

F.4.4 Enhanced Swales, Grass Channels and Filter Strips

Table F-6 provides a number of grass species that perform well in the stressful environment of an

open channel structural control such as an enhanced swale or grass channel, or for grass filter

strips. In addition, wet swales may include other wetland species (see F.4.1). Select plant

material capable of salt tolerance in areas that may include high salt levels.

Table F.7 Common Grass Species for Dry and Wet Swales and Grass Channels

Common Name

Scientific Name

Notes

Bermuda grass

Cynodon dactylon

Big Bluestem

Andropogon gerardii

Not for wet swales

Creeping Bentgrass

Agrostis palustris

Red Fescue

Festuca rubra

Not for wet swales

Reed Canary grass

Phalaris arundinacea

Wet swales

Redtop

Agrostis alba

Smooth Brome

Bromus inermis

Not for wet swales

Switch grass

Panicum virgatum

Note 1: These grasses are sod-forming and can withstand frequent inundation, and are thus ideal for the swale or grass channel

environment. Most are salt-tolerant, as well.

Note 2: Where possible, one or more of these grasses should be in the seed mixes

Volume 2 (Technical Handbook) Georgia Stormwater Management Manual F-23

F.5 Trees and Shrubs for Stormwater Facilities

The following pages present a detailed list of wetland trees and shrubs that may be used for

stormwater management facilities such as stormwater ponds, stormwater wetlands and

bioretention areas in Georgia (Source: Garber and Moorhead, 1999)

Table F-7 Wetland indicator status, growth form, flood tolerance and seed dispersal and treatment for selected native

Georgia wetland trees and shrubs'

Flood Seed Seed

Species Indicator* Form Tolerance** Dispersal*** Treatments**** Comments

Boxelder FACW Tree T Sept.-Mar. Cold Strat. 30-40 Can propagate by

Acer negundo Days softwood cuttings

(Mech. Rup. Pericarp)

Red Maple FAC Tree T Apr.-July Strat. not required Can propagate by

Acer rubrum softwood cuttings, tissue

culture

Silver Maple FACW Tree T Apr.-June Strat. not req.

Acer saccharinum

Red Buckeye FAC Shrub NE Sept.-Nov. Strat. not req. Plant seed as soon as

Aesculus pavia collected. Do not let dry

out.

Painted Buckeye FAC Shrub NE July-Aug. Cold Strat.

Aesculus sylvatica 90 Days

Hazel Alder FACW + Tree NE Sept.-Oct. Cold Strat. Can propagate by

Alnus serrulata 30-60 Days cuttings, tissue culture

Common Pawpaw FAC Tree I Sept.-Oct. Scarification Re-

Asimina triloba quired

Cold Strat. 60-90

Days

River Birch FACW Tree IT May-June Cold Strat. Can propagate by

Betula nigra 60-90 Days softwood cuttings

American Hornbeam FAC Tree WT Oct.-Spring Cold Strat.

Carpinus caroliniana 60 Days

Water Hickory OBL Tree IT Oct.-Dec. Cold Strat. 30-90

C Carya aquatica Days

Warm Strat. 60

Days

Bitternut Hickory FAC Tree NE Sept.-Dec. Cold Strat.

I Carya cordiformus 90 Days

Pecan FAC + Tree IT Sept.-Dec. Cold Strat.

Carya illinoensis 30-90 Days

Shellbark Hickory FACW- Tree NE Sept.-Oct. Cold Strat.

Carya laciniosa 90-120 Days

Sugarberry FACW Tree IT Oct.-Dec. Cold Strat.

Celtis laevigata 60-90 Days

Common Buttonbush OBL Shrub VT Sept.-Oct. Strat. not req.

Cephalanthus occidentalis

Atlantic White Cedar OBL Tree T Oct.-March Warm Strat. 30 Days

Chemaecyparis thyoides Cold Strat. 30 Days

* Indicator: OBL-obligate; FACW-facultative wetland; FAC-facultative; FACU-facultative upland.

Indicators may be modified by ( + ) or (-) suffix; ( + )indicates a species more frequently found in wetlands; (-) indicates species less

frequently found in wetlands.

** Flood Tolerance Mature Plants:

VT-Very Tolerant: Survives flooding for periods of two or more growing seasons.

T-Tolerant: Survives flooding for one growing season.

I-Intermediately Tolerant: Survives one to three months of flooding during growing season

WT-Weakly Tolerant: Survives several days to several weeks of growing-season flooding.

IT-Intolerant: Cannot survive even short periods of a few days or weeks of growing-season flooding.

NE-Not established.

*** Seed Dispersal: Approximate dates across natural range of a given species.

**** Seed Treatments:

Cold stratification: Place moist seeds in polyethylene plastic bags and place in refrigerated storage at 33°-41° F for specified time.

Warm stratification: Place moist seeds in polyethylene plastic bags at 68°-86° F for specified time. Scarification-mechanical or

chemical treatment to increase permeability of seed coat.

F-24 Georgia Stormwater Design Manual Volume 2 (Technical Handbook)

Table F-7 continued

Flood Seed Seed

Species Indicator* Form Tolerance** Dispersal*** Treatments**** Comments

Slash Pine FACW Tree IT Oct. Cold Strat.

Pinus elliottii 30 Days

Spruce Pine FACW Tree IT Oct.-Nov. Cold Strat.

Pinus glabra 28 Days

Pond Pine FACW + Tree T Spring Cold Strat. Cones often remain

Pinus serotina 30 Days closed after ripening

Loblolly Pine FAC Tree IT Oct.-Dec. Cold Strat.

Pinus taeda 30-60 Days

American Sycamore FACW + Tree T Feb.-Apr. Cold Strat.

Platanus occidentalis 60-90 Days

Eastern Cottonwood FAC + Tree VT May-Aug. Strat. not req. Can propagate by

Populus deltoides cuttings

Swamp Cottonwood OBL Tree VT Apr.-July Strat. not req. Can propagate by

Populus heterophylla cuttings

Wafer Ash FAC Shrub NE Sept. Cold Strat.

Ptelea trifoliata 90-120 Days

Swamp White Oak FACW + Tree T Aug.-Dec. Strat. not req. White oak group,

Quercus bicolor check native range

Cherrybark Oak FAC + Tree I Aug.-Dec.Cold 30-90 Days Red Oak group

Quercus pagoda Strat.

Laurel Oak FACW Tree IT Aug.-Dec. Cold Strat. Red Oak group

Quercus laurifolia 30-90 Days

Overcup Oak OBL Tree T Aug.-Dec. Strat. not req. White Oak group

Quercus lyrata

Swamp Chestnut Oak FACW- Tree I Aug.-Dec. Strat. not req. White Oak group

Quercus michiauxii

Water Oak FAC Tree T Aug.-Dec. Cold Strat. Red Oak group

Quercus nigra 30-90 Days

Willow Oak FACW- Tree T Aug.-Dec. Cold Strat. Red Oak group

Quercus phellos 30-90 Days

Shumard Oak FACW- Tree IT Aug.-Dec. Cold Strat. Red Oak group

Quercus shumardii 30-90 Days

Coastal Plain Willow OBL Tree VT Mar.-Apr. Strat. not req. Seed will not remain

Salix caroliniana viable in storage;

plant within 10 days

after collection.Can

propagate by cuttings

Black Willow OBL Tree VT June-July Not required. Seed will not remain

Salix nigra viable in storage.

Plant within 10 days

after collection.Can

propagate by cuttings

Baldcypress OBL Tree VT Oct.-Nov. Cold Strat. 90 Soak seed for S min.

Taxodium distichum Days. in ethyl alcohol bevar.

distichum fore placing in cold

stratification.

Pondcypress OBL Tree VT Oct.-Nov. Cold Strat. 60-90 Soak seed for 24 to

Taxodium distichum Days. 48 hrs. in 0.0196 citvar.

nutans ric acid before placing

in cold

stratification.

American Elm FACW Tree T Mar.-June Cold Strat. Can propagate by

Ulmus americana 60-90 Days cuttings

Slippery elm FAC Tree I Apr.-June Cold Strat. Can propagate by

Ulmus rubra 60-90 Days cuttings

Volume 2 (Technical Handbook) Georgia Stormwater Management Manual F-25

Table F-7 continued

Flood Seed Seed

Species Indicator* Form Tolerance** Dispersal*** Treatments**** Comments

Rough-Leaf Dogwood FAC Tree T Aug.-Jan. Warm Strat. 70°-

Cornus drummondii 80°

1 Day

Cold Strat.

30 Days

Hawthornes FAC Shrub IT Fall-Winter May Req. Scari-

Crataegus spp. fication

Warm Strat. 70°-

80°

30-90 Days

Cold Strat.

90-180 Days

Common Persimmon FAC Tree T Oct.-Nov. Cold Strat.

Diospyros virginiana 60-90 Days

Eastern Burning Bush FAC Shrub NE Sept.-Oct. Warm Strat. 68°-

Euonymus atropurpuresu 86°

60 Days

Cold Strat.

60 Days

Carolina Ash OBL Shrub VT Sept.- Dec. Cold Strat.

Fraxinus caroliniana 60 Days

Green Ash FACW Tree VT Oct.-Feb. Cold Strat.

Fraxinus pennsylvanica 60-90 Days

Pumpkin Ash OBL Tree VT Oct.-Dec. Cold Strat.

Fraxinus profonda 60 Days

Waterlocust OBL Tree T Sept.-Dec. Req. Scarifica-

Gleditsia aquatica tion

Loblolly Bay FACW Tree T Fall Not Established

Gordonia laisianthus

Decidious Holly FACW Shrub VT Sept.-Mar. Warm Strat.

Illex decidua 68°-Day, 86°-

Night

60 Days

Cold Strat.-60

Days

Spicebush FACW Shrub NE Sept.-Oct. Cold Strat.

Lindera benzoin 120 Days

Sweetgum FAC + Tree T Sept.-Nov. Cold Strat.

Liquidamber styraciflua 30 Days

Yellow Poplar FAC Tree I Oct.-Nov. Cold Strat.

Liriodendron tulipifera 60-90 Days

Sweetbay FACW + Tree IT Sept.-Nov. Cold Strat. Can propagate by

Magnolia virginiana 90-180 Days cuttings

Red Mulberry FAC Tree IT June-Aug. Cold Strat.

Morus rubra 30-90 Days

Southern Bayberry FAC + Shrub NE Aug.-Oct. Cold Strat.

Myrica cerifera 60-90 Days

Water Tupelo OBL Tree VT Oct.-Nov. Cold Strat.

Nyssa aquatica 30-120 Days

Ogeechee Tupelo OBL Tree VT Aug.-Sept. Cold Strat.

Nyssa ogeche 30-120 Days

Swamp Tupelo OBL Tree VT Sept.-Dec. Cold Strat.

Nyssa sylvatica 30-120 Days

var. biflora

Redbay FACW Tree MT Fall Not established

Persea borbonia

F-26 Georgia Stormwater Design Manual Volume 2 (Technical Handbook)

Table F-8 Seedling response of selected species to flooding conditions

Species Water Level Seedling Survival* Comments

Boxelder Total submersion 100% at 2 weeks Chlorotic leaves after 4 days.

Acer negundo Growing Season 70% at 3 weeks Slow recovery.

36% at 4 weeks

0% at 32 days

Red Maple Partial submersion 100% at 5 days Adventitious roots developed

Acer rubrum Growing season 90% at 10 days after 15 days

0% at 20 days Height growth decreased in

saturated soil

Soil saturation Growing season Soil saturation

Growing season 100% at 32 days

Silver Maple Total submersion 100% at 3 weeks Lower leaves wilt after 2 days.

Acer saccharinum Growing season Slow recovery

Height growth better at satu-

Soil saturation 100% at 60 days rated conditions than field ca-

Growing season pacity

River Birch Soil saturation 100% at 32 days Growth severely stunted

Betula nigra Growing season

Pecan Total submersion 75% at 4 weeks

Carya illinoensis Growing season

Sugarberry Soil saturation 100% at 60 days

Celtis laevigata Growing season

Common Buttonbush Total submersion 100% at 30 days

Cephalanthus occidentalis Growing season

Green Ash Total submersion 100% at 5 days Lower leaves chlorotic after 8

Fraxinus pennsylvanica Growing season 90% at 10 days days

73% at 20 days

20% at 30 days Better growth in saturated soil

than soil at field capacity

Partial submersion 100% at 14 days

Growing season

Soil saturation 100% at 60 days

Growing season

Sweetgum Total submersion 0% at 32 days

Liquidambar styraciflua Growing season

Partial submersion 0% at 3 months

Growing season

Adapted from Teskey & Hinkley, 1977

* Seeding survival in relation to length of flooding

Volume 2 (Technical Handbook) Georgia Stormwater Management Manual F-27

Table F-8 continued

Species Water Level Seedling Survival* Comments

Yellow Poplar Partial submersion 0% at 2 months

Liriodendron tulipifera Growing Season No adverse effects

Water Tupelo Partial submersion 90-100% over Best growth when water ta-

Nyssa aquatica Growing season growing season ble fluctuates

32% when seedlings nearly

overtopped

Swamp Tupelo Partial submersion 90 - 100% over Poor root growth in stag-

Nyssa sylvatica Growing season growing season nant water

var. bif ora

Soil saturation 90 - 100% over Best growth in saturated

Growing season growing season soil

Slash Pine Partial submersion 68% at 2 months Root and shoot growth de-

Pinus elliottii Growing season 12% at 7 months creased

Loblolly Pine Root & shoot growth re-

Pinus taeda duced during flooding

Dormant season flooding

increased height and diameter

growth

American Sycamore Total submersion 100% at 10 days Growth decreased by satu-

Platanus occidentalis Growing season 0% at 30 days rated soil

Soil saturation

Grnwina season

95% at 32 days

Eastern Cottonwood Total submersion 0% at 16 days Best growth when water ta-

Populus deltoides Growing season ble is 2 feet below surface

Partial submersion 90% at 10 days High mortality when deep-

Growing season 70% at 20 days ly flooded

47% at 30 days

Cherrybark Oak Total submersion 87% at 5 days Height growth decreased

Quercus pagoda Growing season 6% at 10 days by soil saturation

0% at 20 days

Soil saturation 89% at 15 days

Growing season 47% at 30 days

13% at 60 days

Water Oak Partial submersion Survived 2 months

Quercus nigra Growing season

Willow Oak Soil saturation 100% at 50 days Poorer growth in saturated

Quercus phellos Growing season soil than soil at field capacity

Shumard Oak Total submersion 100% at 5 days Height growth poorer in

Quercus shumardii Growing season 90% at 10 days saturated soil than soil at

6% at 20 days field capacity

Soil saturation 100% at 30 days

Growing season 66% at 60 days

Black Willow Total submersion 100% at 30 days Better height growth in sat-

Salix nigra Growing season urated soil than soil at field

capacity

Soil saturation 100% at 60 days

Growing season

Baldcypress Total submersion 100% at 4 weeks

Taxodium distichum var. disti- Growing season

chum

American Elm Total submersion 100% at 10 days Height growth decreased in

Ulmus americana Growing season 27% at 20 days saturated soil

0% at 30 days

Soil saturation 100% at 15 days

Growing season 94% at 60 days

* Seeding survival in relation to length of flooding

F-28 Georgia Stormwater Design Manual Volume 2 (Technical Handbook)

F.6 Aesthetic Considerations in Stormwater Facility

Design and Landscaping

to be provided

(updates found at www.georgiastormwater.com)

Volume 2 (Technical Handbook) Georgia Stormwater Management Manual F-29

References

Art, Henry W., 1986. A Garden of Wildflowers, 101 Native Species and How to Grow Them,

Storey Communications, Inc., Pownal, VT.

Clausen, Ruth Rogers and Ekstrom, Nicolas, H., 1989. Perennials for American Gardens,

Random House, New York, NY.

Dirr, Michael A., 1990. Manual of Woody Landscape Plants, Their Identification, Ornamental

Characteristics, Culture, Propagation, and Uses, 4th Edition, Stipes Publishing Company,

Champaign, IL.

Engineering Technology Associates Inc. and Biohabitats, Inc. (ETA&B), 1993. Design Manual for

Use of Bioretention in Stormwater Management, Prince Georges County Dept. of Environmental

Resources, Upper Marlboro, MD.

Garber, M.P. and Moorhead, D.J., 1999. Selection, Production and Establishment of Wetland

Trees and Shrubs. University of Georgia, College of Agricultural & Environmental Sciences &

Daniel B. Warnell School of Forest Resources Cooperative Extension Service.

Georgia Wildlife Web: http://museum.nhm.uga.edu/gawildlife/gawwregions.html

Greenlee, John, (photographed by Derek Fell) 1992. The Encyclopedia of Ornamental Grasses,

How to Grow and Use Over 250 Beautiful and Versatile Plants, Rodale Press, Emmas, PA.

Hodler, T.W. and H.A. Schretter. 1986. The Atlas of Georgia. University of Georgia Press,

Athens.

Miles, Bebe, 1996. Wildflower Perennials for Your Garden, A Detailed Guide to Years of Bloom

from America's Native Heritage, Stackpole Books, Mechanicsburg, PA.

Newcomb, Lawrence, 1977. Newcomb's Wildflower Guide, Little Brown and Company, Boston,

MA.

Schueler, Thomas R., July 1987. Controlling Urban Runoff: A Practical Manual for Planning and

Designing Urban BMP's, Department of Environmental Programs Metropolitan Washington

Council of Governments, Metropolitan Information Center, Washington, DC.

Schueler, Thomas R., October 1996. Design of Stormwater Wetland Systems: Guidelines for

Creating Diverse and Effective Stormwater Wetland Systems in the Mid-Atlantic Region,

Department of Environmental Programs Metropolitan Washington Council of Governments,

Metropolitan Information Center, Washington, D.C.

Schueler, Thomas R. and Claytor, Richard A., 1997. Design of Stormwater Filtering Systems:

Appendix B and C, Chesapeake Bay Consortium, Silver Spring, MD.

The Pennsylvania State University, College of Agriculture, Cooperative Extension Service, File

No. IVC9 10M386, U. Ed. 85-439 and File No. IVC9 10M587 U.Ed. 86-356, Weed Identification,

The Pennsylvania State University, College of Agriculture, Cooperative Extension Service,

University Park, PA.

Tiner, Ralph W. Jr., April 1988. Field Guide to Non-Tidal Wetland Identification, U.S. Fish and

Wildlife Service, Maryland Department of Natural Resources Maryland Geological

U.S. Army Corps of Engineers, Wetlands Research Program (WRP), 1993. Baseline Site

Assessments for Wetland Vegetation Establishment. WRP Technical Note VN-EV-2.1, August

1993.

F-30 Georgia Stormwater Design Manual Volume 2 (Technical Handbook)

This page left intentionally blank